## NBest
Year | Capital Cost | Refurbishment | O&M | Fuel | Decommission | Total |  | NOTES:
0 | 10000000 | 0 | 0 | 0 | 0 | 10000000 |  | The NPV investment begins one period before the date of the value1 cash flow and ends with the last cash flow in the list. The NPV calculation is based on future cash flows. If your first cash flow occurs at the beginning of the first period, the first value must be added to the NPV result, not included in the values arguments. For more information, see the examples below.
1 | 0 | 0 | 100000 | 0 | 28000 | 128000
2 | 0 | 0 | 100000 | 0 | 28000 | 128000 | NPV [$-current]
3 | 0 | 0 | 100000 | 0 | 28000 | 128000 | 23434763.6535
4 | 0 | 0 | 100000 | 0 | 28000 | 128000
5 | 0 | 0 | 100000 | 0 | 28000 | 128000 | PMT [$/yr]
6 | 0 | 0 | 100000 | 0 | 28000 | 128000 | 674170.4799
7 | 0 | 0 | 100000 | 0 | 28000 | 128000
8 | 0 | 0 | 100000 | 0 | 28000 | 128000 | LCOE [$/MWhe] | (assumes this many hours/yr @1MWe) -> | 8766
9 | 0 | 0 | 100000 | 0 | 28000 | 128000 | 76.9074
10 | 0 | 0 | 100000 | 0 | 28000 | 128000
11 | 0 | 0 | 100000 | 0 | 28000 | 128000 | LCOE [c/kWhe]
12 | 0 | 0 | 100000 | 0 | 28000 | 128000 | 7.6907
13 | 0 | 0 | 100000 | 0 | 28000 | 128000
14 | 0 | 0 | 100000 | 0 | 28000 | 128000
15 | 0 | 0 | 100000 | 0 | 28000 | 128000
16 | 0 | 0 | 100000 | 0 | 28000 | 128000
17 | 0 | 0 | 100000 | 0 | 28000 | 128000
18 | 0 | 0 | 100000 | 0 | 28000 | 128000
19 | 0 | 0 | 100000 | 0 | 28000 | 128000
20 | 0 | 0 | 100000 | 0 | 28000 | 128000
21 | 0 | 8140500 | 100000 | 0 | 28000 | 8268500
22 | 0 | 0 | 100000 | 0 | 28000 | 128000
23 | 0 | 0 | 100000 | 0 | 28000 | 128000
24 | 0 | 0 | 100000 | 0 | 28000 | 128000
25 | 0 | 0 | 100000 | 0 | 28000 | 128000
26 | 0 | 0 | 100000 | 0 | 28000 | 128000
27 | 0 | 0 | 100000 | 0 | 28000 | 128000
28 | 0 | 0 | 100000 | 0 | 28000 | 128000
29 | 0 | 0 | 100000 | 0 | 28000 | 128000
30 | 0 | 0 | 100000 | 0 | 28000 | 128000
31 | 0 | 0 | 100000 | 0 | 28000 | 128000
32 | 0 | 0 | 100000 | 0 | 28000 | 128000
33 | 0 | 0 | 100000 | 0 | 28000 | 128000
34 | 0 | 0 | 100000 | 0 | 28000 | 128000
35 | 0 | 0 | 100000 | 0 | 28000 | 128000
36 | 0 | 0 | 100000 | 0 | 28000 | 128000
37 | 0 | 0 | 100000 | 0 | 28000 | 128000
38 | 0 | 0 | 100000 | 0 | 28000 | 128000
39 | 0 | 0 | 100000 | 0 | 28000 | 128000
40 | 0 | 0 | 100000 | 0 | 28000 | 128000
41 | 0 | 8140500 | 100000 | 0 | 28000 | 8268500
42 | 0 | 0 | 100000 | 0 | 28000 | 128000
43 | 0 | 0 | 100000 | 0 | 28000 | 128000
44 | 0 | 0 | 100000 | 0 | 28000 | 128000
45 | 0 | 0 | 100000 | 0 | 28000 | 128000
46 | 0 | 0 | 100000 | 0 | 28000 | 128000
47 | 0 | 0 | 100000 | 0 | 28000 | 128000
48 | 0 | 0 | 100000 | 0 | 28000 | 128000
49 | 0 | 0 | 100000 | 0 | 28000 | 128000
50 | 0 | 0 | 100000 | 0 | 28000 | 128000
51 | 0 | 0 | 100000 | 0 | 28000 | 128000
52 | 0 | 0 | 100000 | 0 | 28000 | 128000
53 | 0 | 0 | 100000 | 0 | 28000 | 128000
54 | 0 | 0 | 100000 | 0 | 28000 | 128000
55 | 0 | 0 | 100000 | 0 | 28000 | 128000
56 | 0 | 0 | 100000 | 0 | 28000 | 128000
57 | 0 | 0 | 100000 | 0 | 28000 | 128000
58 | 0 | 0 | 100000 | 0 | 28000 | 128000
59 | 0 | 0 | 100000 | 0 | 28000 | 128000
60 | 0 | 0 | 100000 | 0 | 28000 | 128000

## NMed
Year | Capital Cost | Refurbishment | O&M | Fuel | Decommission | Total
0 | 20000000 | 0 | 0 | 0 | 0 | 20000000
1 | 0 | 0 | 250000 | 0 | 43000 | 293000
2 | 0 | 0 | 250000 | 0 | 43000 | 293000 | NPV [$-current]
3 | 0 | 0 | 250000 | 0 | 43000 | 293000 | 107508539.5609
4 | 0 | 0 | 250000 | 0 | 43000 | 293000
5 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000 | PMT [$/yr]
6 | 0 | 0 | 250000 | 0 | 43000 | 293000 | 3092801.9921
7 | 0 | 0 | 250000 | 0 | 43000 | 293000
8 | 0 | 0 | 250000 | 0 | 43000 | 293000 | LCOE [$/MWhe] | (assumes this many hours/yr @1MWe) -> | 8766
9 | 0 | 0 | 250000 | 0 | 43000 | 293000 | 352.8179
10 | 0 | 0 | 250000 | 0 | 43000 | 293000
11 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000 | LCOE [c/kWhe]
12 | 0 | 0 | 250000 | 0 | 43000 | 293000 | 35.2818
13 | 0 | 0 | 250000 | 0 | 43000 | 293000
14 | 0 | 0 | 250000 | 0 | 43000 | 293000
15 | 0 | 0 | 250000 | 0 | 43000 | 293000
16 | 0 | 0 | 250000 | 0 | 43000 | 293000
17 | 0 | 0 | 250000 | 0 | 43000 | 293000
18 | 0 | 0 | 250000 | 0 | 43000 | 293000
19 | 0 | 0 | 250000 | 0 | 43000 | 293000
20 | 0 | 0 | 250000 | 0 | 43000 | 293000
21 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000
22 | 0 | 0 | 250000 | 0 | 43000 | 293000
23 | 0 | 0 | 250000 | 0 | 43000 | 293000
24 | 0 | 0 | 250000 | 0 | 43000 | 293000
25 | 0 | 0 | 250000 | 0 | 43000 | 293000
26 | 0 | 0 | 250000 | 0 | 43000 | 293000
27 | 0 | 0 | 250000 | 0 | 43000 | 293000
28 | 0 | 0 | 250000 | 0 | 43000 | 293000
29 | 0 | 0 | 250000 | 0 | 43000 | 293000
30 | 0 | 0 | 250000 | 0 | 43000 | 293000
31 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000
32 | 0 | 0 | 250000 | 0 | 43000 | 293000
33 | 0 | 0 | 250000 | 0 | 43000 | 293000
34 | 0 | 0 | 250000 | 0 | 43000 | 293000
35 | 0 | 0 | 250000 | 0 | 43000 | 293000
36 | 0 | 0 | 250000 | 0 | 43000 | 293000
37 | 0 | 0 | 250000 | 0 | 43000 | 293000
38 | 0 | 0 | 250000 | 0 | 43000 | 293000
39 | 0 | 0 | 250000 | 0 | 43000 | 293000
40 | 0 | 0 | 250000 | 0 | 43000 | 293000
41 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000
42 | 0 | 0 | 250000 | 0 | 43000 | 293000
43 | 0 | 0 | 250000 | 0 | 43000 | 293000
44 | 0 | 0 | 250000 | 0 | 43000 | 293000
45 | 0 | 0 | 250000 | 0 | 43000 | 293000
46 | 0 | 0 | 250000 | 0 | 43000 | 293000
47 | 0 | 0 | 250000 | 0 | 43000 | 293000
48 | 0 | 0 | 250000 | 0 | 43000 | 293000
49 | 0 | 0 | 250000 | 0 | 43000 | 293000
50 | 0 | 0 | 250000 | 0 | 43000 | 293000
51 | 0 | 20790000 | 250000 | 0 | 43000 | 21083000
52 | 0 | 0 | 250000 | 0 | 43000 | 293000
53 | 0 | 0 | 250000 | 0 | 43000 | 293000
54 | 0 | 0 | 250000 | 0 | 43000 | 293000
55 | 0 | 0 | 250000 | 0 | 43000 | 293000
56 | 0 | 0 | 250000 | 0 | 43000 | 293000
57 | 0 | 0 | 250000 | 0 | 43000 | 293000
58 | 0 | 0 | 250000 | 0 | 43000 | 293000
59 | 0 | 0 | 250000 | 0 | 43000 | 293000
60 | 0 | 0 | 250000 | 0 | 43000 | 293000

## NWorst
Year | Capital Cost | Refurbishment | O&M | Fuel | Decommission | Total
0 | 30000000 | 0 | 0 | 0 | 0 | 30000000
1 | 0 | 0 | 450000 | 0 | 61300 | 511300
2 | 0 | 0 | 450000 | 0 | 61300 | 511300 | NPV [$-current]
3 | 0 | 0 | 450000 | 0 | 61300 | 511300 | 180305622.2359
4 | 0 | 0 | 450000 | 0 | 61300 | 511300
5 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300 | PMT [$/yr]
6 | 0 | 0 | 450000 | 0 | 61300 | 511300 | 5187025.9787
7 | 0 | 0 | 450000 | 0 | 61300 | 511300
8 | 0 | 0 | 450000 | 0 | 61300 | 511300 | LCOE [$/MWhe] | (assumes this many hours/yr @1MWe) -> | 8766
9 | 0 | 0 | 450000 | 0 | 61300 | 511300 | 591.721
10 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
11 | 0 | 0 | 450000 | 0 | 61300 | 511300 | LCOE [c/kWhe]
12 | 0 | 0 | 450000 | 0 | 61300 | 511300 | 59.1721
13 | 0 | 0 | 450000 | 0 | 61300 | 511300
14 | 0 | 0 | 450000 | 0 | 61300 | 511300
15 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
16 | 0 | 0 | 450000 | 0 | 61300 | 511300
17 | 0 | 0 | 450000 | 0 | 61300 | 511300 |  | 20790000
18 | 0 | 0 | 450000 | 0 | 61300 | 511300
19 | 0 | 0 | 450000 | 0 | 61300 | 511300
20 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
21 | 0 | 0 | 450000 | 0 | 61300 | 511300
22 | 0 | 0 | 450000 | 0 | 61300 | 511300
23 | 0 | 0 | 450000 | 0 | 61300 | 511300
24 | 0 | 0 | 450000 | 0 | 61300 | 511300
25 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
26 | 0 | 0 | 450000 | 0 | 61300 | 511300
27 | 0 | 0 | 450000 | 0 | 61300 | 511300
28 | 0 | 0 | 450000 | 0 | 61300 | 511300
29 | 0 | 0 | 450000 | 0 | 61300 | 511300
30 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
31 | 0 | 0 | 450000 | 0 | 61300 | 511300
32 | 0 | 0 | 450000 | 0 | 61300 | 511300
33 | 0 | 0 | 450000 | 0 | 61300 | 511300
34 | 0 | 0 | 450000 | 0 | 61300 | 511300
35 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
36 | 0 | 0 | 450000 | 0 | 61300 | 511300
37 | 0 | 0 | 450000 | 0 | 61300 | 511300
38 | 0 | 0 | 450000 | 0 | 61300 | 511300
39 | 0 | 0 | 450000 | 0 | 61300 | 511300
40 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
41 | 0 | 0 | 450000 | 0 | 61300 | 511300
42 | 0 | 0 | 450000 | 0 | 61300 | 511300
43 | 0 | 0 | 450000 | 0 | 61300 | 511300
44 | 0 | 0 | 450000 | 0 | 61300 | 511300
45 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
46 | 0 | 0 | 450000 | 0 | 61300 | 511300
47 | 0 | 0 | 450000 | 0 | 61300 | 511300
48 | 0 | 0 | 450000 | 0 | 61300 | 511300
49 | 0 | 0 | 450000 | 0 | 61300 | 511300
50 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
51 | 0 | 0 | 450000 | 0 | 61300 | 511300
52 | 0 | 0 | 450000 | 0 | 61300 | 511300
53 | 0 | 0 | 450000 | 0 | 61300 | 511300
54 | 0 | 0 | 450000 | 0 | 61300 | 511300
55 | 0 | 20790000 | 450000 | 0 | 61300 | 21301300
56 | 0 | 0 | 450000 | 0 | 61300 | 511300
57 | 0 | 0 | 450000 | 0 | 61300 | 511300
58 | 0 | 0 | 450000 | 0 | 61300 | 511300
59 | 0 | 0 | 450000 | 0 | 61300 | 511300
60 | 0 | 0 | 450000 | 0 | 61300 | 511300